# Church Hall Hirer Safety Induction information

# (To be provided for Hirer at time of Booking)

Welcome to St Patrick’s Church Hall!

The Hall Manager and volunteers hope that you will find everything relating to your hiring satisfactory. For your own comfort and safety and that of other Hall users we would be grateful if you take note of the information provided below.

Address St Patrick’s Church Hall, St Patrick’s Court, Brockworth, GL3 4NT About the premises This comprises the Main Hall, an attached small Meeting Room, Kitchen, Toilets and Car Park. It does not include the Church, Presbytery or other grounds. Hall manager Deacon Barry Taylor Tel email:

Safety Item

Opening Up - To gain access to the premises enter via the church car park. Use the code provided at the time of booking to open the key box found on the wall outside the entrance to the Hall. - We recommended that that the main access doors to the premises are kept locked during your event to enhance your security and that of your guests. - To conserve energy please consider opening window blinds to allow natural daylight to illuminate hall. - Radiator heating will be provided when outside temperatures drop below 15 degrees centigrade and may be adjusted by turning the radiator thermostats up or down; Please return to the original setting before leaving. Portable electric heaters are available in the small meeting room should additional or alternative heating be required. - Please note animals are not permitted on the premises (except for assistance dogs).

Parking and access - The car parking area and path outside the church hall are to be used for parking and access only. - Light switches for the car park are found on the left-hand corridor wall as you enter the premises. - There is sufficient parking space for approximately 45 cars; the 4 yellow bays near to the entrance are for the use of disabled drivers only. Parking is not permitted outside of the marked bays. - We would ask you to be respectful of other drivers, including our neighbours and visitors to the adjacent houses when approaching and leaving the car park.

Setting Up - The hall has 14 tables (seating 4 each) and 100 chairs for your use. The fold up tables in the storeroom are not to be used by hirers use unless previously agreed with hall manager. - The meeting room has one table seating 6 and 14 chairs. The organ in the meeting room and any materials stored in the meeting room cupboards are for parishioners’ use only. - Hirers are responsible for setting up tables and chairs in their preferred configuration. Please use the chair trolly in the storeroom at end of the hall if you wish to move stacks of chairs. - Glitter, confetti, “silly string” or foam may not be used on the premises. Blue-tac (or similar) or adhesive tape of any kind must not be used to attach decorations or pictures to the walls. Bouncy castles and other similar soft play equipment may not be used in the hall. - Keep all fire exits, escape routes, fire extinguishers and safety signs clear of obstructions. - Avoid trailing cables especially if using an extension lead. Do not use multi-socket adapters. - If you are bringing electrical items onto the premises, please ensure they are in a safe working condition and cables and plugs are not showing any signs of wear. Plugs should show evidence of a successful PAT test within the past year. - There is no Wi-Fi access in the building; phones, tablets and laptops will need to function using your own mobile data.

Fire Procedure - To ensure emergency escape routes are adequate the maximum number of persons permitted in the hall at any one time is 150. - On arrival at the Hall please ensure that everyone in your group is aware of the Emergency Exits and the Fire Procedure displayed near exits. - The doors to the Main Church at the end of the entrance corridor are kept locked when the church is not in use and there is no exit through the church or via the enclosed toilet corridor. Fire exits are located at the far end of the hall on the right-hand side and through the main entrance to the building where you came in. Do not wedge any of the fire doors open. - Fire alarms are raised by breaking the glass fronted red alarm points situated next to the emergency fire exit in the Hall and in the entrance corridor next to the main doors. - Smoking is not permitted on any part of the Premises. - See our Fire Safety Policy and Emergency Evacuation Plan on noticeboard in corridor outside hall for further information.

Arrangements for disabled people - Marked parking bays are available near to the entrance to the premises for the use of disabled visitors. - All doorways are sufficiently wide to accommodate wheelchairs. - There are no steps on any part of the premises; a paved ramp is in place leading out from the hall’s emergency exit. - A disabled toilet is available. - Emergency lighting marks exit points.

Catering - The kitchen adjacent to the hall is available for making hot drinks and unwrapping pre-prepared snacks; it is not suitable for the preparation of hot food. - The hot water urns take about 30 minutes to reach temperature. Please read the guidance provided prior to use and ensure that they are sufficiently filled before turning on and emptied (if sufficiently cool to be safe) before leaving. Two domestic kettles are available for heating smaller quantities of water. - Please wash up, dry and put away any crockery you have used. - Please do not use any of the tea/coffee or other condiments stored by parishioners in the kitchen. - There is a small counter-top fridge which may be used for keeping food cool during your visit; please switch this off before leaving. - There is a microwave oven which may be used for heating small amounts of pre-prepared food. An instruction leaflet is provided to read before use. - To turn the extractor fan on please use the labelled swich on the wall behind the microwave.

Closing up - Please leave promptly at the end of your hire period as others may have booked the hall immediately following your session - Please ensure urns and kettles are switched off at the wall sockets after use. - If screens on hatches between kitchen and hall/meeting room have been raised, please lower these before leaving. - Please sweep the floor before leaving if any debris has been dropped; there is a large V shaped sweeper mop in the storeroom at the far end of the hall and brushes and dustpans in the kitchen for your use. - Close all windows, draw blinds, turn off all lights (Including those in the toilets and corridors) and return the radiator thermostats to their original setting. Please check that no taps have been left running in the toilets. - Take any food waste you have generated away with you. Any recycling or general waste that does not fit into the hall and kitchen bins should also be taken away. - Replace the key to the premises in the Key Code Box after locking the building.

Emergency gas procedure - If a gas leak is suspected in the building call the Emergency number (0800 111 999). - Open doors and windows, do not turn on/off any electrical switches, extinguish all naked flames, do not smoke, strike matches or do anything which could cause ignition. - The gas supply to the Hall can be turned off in the boiler room adjacent to the ladies’ toilets. - Vacate the building and call the Hall manager on

Other emergency - In cases of water spillage or leaks please display yellow warning sign stored in cupboard at end of hall. Wipe up any small spillages as soon as they occur; a mop and bucket are available in the kitchen. - In case of a suspected burst pipe please tun off the stopcock which can be found in the boiler room adjacent to the ladies’ toilets (Valve 1 behind cylindrical tank) - For suspected leaks from pipes, radiators or roof please notify the hall manager on - To turn off the electricity supply go through the second door on the left after you enter the hall; on the right-hand corridor wall are 2 metal cabinets containing the isolation switches. - If you experience any urgent problems with your room or equipment, call

First aid arrangements and accident reporting procedure - First aid equipment is in the kitchen adjacent to the hall. - First Aiders will not be provided by the Church and hirers should provide competent first aiders for their event. - The nearest defibrillators are located at Millbrook Lodge Nursing Home Moorfield Rd, Brockworth, GL3 4E, and at the Toby Carvery on Cross Hands Roundabout Shurdington Rd, Brockworth, GL3 4PH - All accidents and first aid treatments, plus near misses, should be reported in the accident logbook which is held in the kitchen adjacent to the hall; treasurer.brockworth.stpatrick@cliftondiocese.com. They should also be reported within 24 hours of occurrence to the Hall Manager by email: or by phone - For further information see our Health and Safety Policy on the hall noticeboard.

Defect reporting - Please inform the Hall Manager of any breakages or equipment failures during your hire period or if there are any unexpected specific deep cleaning requirements resulting from your hiring: treasurer.brockworth.stpatrick@cliftondiocese.com - If you have any other comments, you feel it would be helpful for us to know please also email as above.

Additional Information The selling of alcohol is not permitted on the premises without the hirer obtaining the appropriate licence (to be provided at the time of booking) and without prior agreement with the Hall Manager. The hirer is responsible for the activities of their group at all times during the hire period.

# Notes: Provided to Hirer at time of booking together with a signature form to acknowledge hire’s understanding of this information. The form should be returned to Hall Manager to confirm booking.